## Slide 1
DEMAND AND OPPORTUNITY
Energy Challenges in Northwestern Ontario
Presentation by the
Northwest Energy Task Force

## Slide 2
41 Major Mining Projects
12 Producing Mines

## Slide 3
41 Major Mining Projects
37 Advanced Stage aim to operate by 2033

## Slide 4
13 - Critical Minerals
6 are copper-nickel palladium/platinum
4 are lithium
1 each of chromite, graphite and zinc
C
L
L
L
P
P
Cop
L
P
L
Cop
C
L
P

## Slide 5
16 estimate construction costs of
$7.6 billion
by 2035

## Slide 6
8 projects
= 3,820 construction crew
7 projects
= 2,360 operating staff

## Slide 7: Transmission Issues

## Slide 8
Dryden and North
Area Served by Wassigan Bulk Transmission Line
15 NEW MINES
550 MW by 2033

## Slide 9
Two circuit 350 MW Capacity
One circuit 175 MW Capacity
550 MW New

## Slide 10
Existing Transmission Lines from Dryden North
Connection to Red Lake at or near capacity.
Wataynikaneyap Power

## Slide 11: Progress

## Slide 12
Wataynikaneyap Power
HONI
Hydro One Proposes twin circuit
Dryden to Red Lake & Serving Pickle Lake

## Slide 13: Frontier Lithium – Ontario Government
“$6.1 million in conditionally approved funding under the Critical Minerals Infrastructure Fund for two projects
to advance Indigenous engagement and
engineering for a 56-kilometre all-season road
and electricity infrastructure”

## Slide 14: NW ETF RECOMENDATIONS

## Slide 15
Two circuit 350 MW Capacity
One circuit 175 MW Capacity
550 MW New
NW ETF Recommend 2nd 175 MW Circuit
Recommended Changes

## Slide 16
Recommended Changes
NW ETF
Add a 2nd circuit to Pickle Lake from Dinorwic
Wataynikaneyap Power

## Slide 17
Recommended Changes
Wataynikaneyap Power
HONI
NW ETF
Additional Line North of Red Lake
PAK project about 175 kilometres north of Red Lake.

## Slide 18
Ring of Fire
and
Nipigon North
11 Mines
Projected 220.5 MW

## Slide 19: Transmission Issues
Greenstone served by a radial line with no redundancy and at or near capacity
Hydro One proposes 230 KV line to Geraldton – two options
Essential that Ring of Fire line connects through Geraldton
Required to connect Ring of Fire

## Slide 20: Progress from Ontario
$70 million to advance route and design planning of the Greenstone Electricity Transmission Line, working with Aroland First Nation, Animbiigoo Zaagi’igan Anishinaabek, Ginoogaming First Nation, Biinjitiwaabik Zaaging Anishinaabek, Bingwi Neyaashi Anishinaabek and Red Rock Indian Band.
Required to connect Ring of Fire

## Slide 21
Immediate Thunder Bay Area
5 mines and potentially 4 processing facilities
2 acquiring land
365 MW New Load

## Slide 22
CEDC led planning group
Synergy North
IESO
Hydro One
to determine solution

## Slide 23
West of Thunder Bay
2 mines (60 to 70 MW) + Disruptive Services

## Slide 24
Power Availability
Base load today is 484 MW.
Base load + mines require 1,968 MW.
NW generates 430 MW
Existing capacity for growth 600 MW
.

## Slide 25
Power Availability
Potential Shortfall by 2033 228 MW
Does not include
Drought reduces output by 230 MW
Conversion from gas to electric heat
Housing & Business growth
Electric Vehicle growth

## Slide 26: VARIABLES
Not all mines listed may be built
Some mines may open later than planned
Other mines not listed may be developed

## Slide 27
New Supply

## Slide 28: Existing Biomass Generators
Atikokan Generating Station &
Thunder Bay Pulp and Paper
Expand output capacity
Enter into minimum 10 year contracts

## Slide 29: New Biomass Generators
Forest industry only cutting 46% of annual allowable cut
30 to 40% of what is cut is available for biomass generation
Ideal add on for existing sawmills
Potential redevelopment for closed sawmills
New, stand alone opportunities

## Slide 30
Hydroelectric Generation
Little Jackfish
80 MW

## Slide 31: Potential Hydro Generation Along Wataynikaneyap Power Lines
North of Red Lake – 67.6 MW
North of Pickle Lake – 207.5 MW
MNR Policy – Artic Watershed up to First Nations
Energy Task Force recommended to IESO that proposals for generation should be exempt from bidding process

## Slide 32: Solar and Wind
Northwest no longer an ORANGE Zone
IESO should seek bids from Solar and Wind proponents with priority for NW projects.

## Slide 33: Storage
Pumped storage
Compressed air storage
Electric Battery storage

## Slide 34: Ontario-Manitoba Interconnection
An import of an additional 200 MW from Manitoba could be accommodated when regional load grows sufficiently to absorb the power directly in the northwest. (IESO-OPA 2014)
The Government, through the IESO should examine the opportunity to permanently expand the 250 MW intertie capacity and contract with Manitoba Hydro

## Slide 35: Our Advocacy
Tentative Meeting with Hydro One
Continue to interact with the IESO
Seek meeting with next Minister of Energy for Ontario
Ongoing informing of energy issues with municipalities and industry